- The iR correction is determined by multiplying the current by the solution resistance. Solution resistance can be determined using electrochemical impedance spectroscopy (EIS), but will be approximated in the meantime.

  - EIS may be able to be performed using the potentiostat.

- Using this random paper I found online, assume solution resistance to be 4.52Ω.

- Then, for each point, subtract iR from the measured voltage value.

  - This looked really bad. I think we need to perform EIS.

Using EC-Ware software